L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

1) Preliminary Remarks

These NBS specifications are intended to simplify the specification process but should be read in conjunction with current building regulations and British standards as well as manufacturers test certificates to ensure the system has full compliance.

We also recommend that you visit our website for CAD drawings, safety certificates, portfolio, news and essential contact details.

Product Guidance:

Our website address: 		www.q-railing.com

Manufacturer:	Q-railing

Product name:  Q-railing Easy Glass® MOD 6507/6508 Juliet balcony system. Modular full glass railing system for fixing glass back to substrate, for indoor and outdoor use consisting of glass fixing, glass handrail profile, glass and accessories.

2) Technical description, Quality characteristics:

-      Fully glazed railing system for face fixing back to substrate

-      Maintenance friendly does not readily corrode, rust or stain.

-      Modular connectors to eliminate the requirement for welding on site.

-      Horizontal uniformly distributed line load, uniformly distributed load applied to infill, and point load to infill testing is available

-      Used separately or fixed to walls using matching handrail brackets

3) Usage:

-      Fittings to be External (316) grades

4) Quality/Safety

Even top quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture, vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

5.1)  Glass fittings for fixing back to substrate

- 	MOD 6507/6508 for fitting to 40 x 40mm Cap rail (14.6507.040.12 & 14.6508.040.12)

- 	MOD 6507/6508 for fitting to 42.4mm diameter Cap rail (14.6507.042.12 & 14.6508.042.12)

- 	MOD 6507/6508 for fitting to 48.3mm diameter Cap rail (14.6507.048.12 & 14.6508.048.12)

5.1.1) Material:

-          Stainless steel Stainless Steel AISI 316

5.1.2) Glass thickness for system

Glass thickness varies between 10 – 21.52mm glass

Glass thickness: ........................................

Note refer to Q-railing test data for glass specification in relation to specific loading criteria

5.2) Handrail options……………………

-          Diameter 42.4 mm, wall thickness 1.5 mm (14.6920.042.12 – 5 metre length)

-          Diameter 48.3 mm, wall thickness 1.5 mm (14.6920.048.12 – 5 metre length)

-          Square, 40 x 40 mm, wall thickness 1.5 mm (14.6920.040.12 – 5 metre length)

5.3) Accessories: .................................................................

-          Connectors and end handrails, stainless steel Stainless Steel AISI 316 / V4A

-          Q-glue (Special stainless steel glue)

-          Q-cleaner (stainless steel care spray)

-          Q-glass cleaner (glass cleaner)

-          Cementing materials AISI 316 / V4A

Amount: ................................