L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

1) Preliminary Remarks

These NBS specifications are intended to simplify the specification process but should be read in conjunction with current building regulations and British standards as well as manufacturers test certificates to ensure the system has full compliance.

We also recommend that you visit our website for CAD drawings, safety certificates, portfolio, news and essential contact details.

Product Guidance:

Our website address: 		www.q-railing.com

Manufacturer:	Q-railing

Product name:  Q-railing Easy Glass® MOD 4747 Glass adapters modular full glass railing system for fixing glass back to substrate, for indoor and outdoor use consisting of 50mm square backing plate, with 50mm diameter glass adapter with a Square cover cap, glass handrail profile, glass and accessories.

2) Technical description, Quality characteristics:

-      Fully glazed railing system for face fixing back to substrate

-      Maintenance friendly does not readily corrode, rust or stain.

-      Modular connectors to eliminate the requirement for welding on site.

-      Horizontal uniformly distributed line load, uniformly distributed load applied to infill, and point load to infill testing is available

-      Used separately or fixed to walls using matching handrail brackets

3) Usage:

-      Fittings to be External (316) grades

-      Interchangeable modular components to adapt for raking or horizontal applications, including options for top mounting or fascia fixing of vertical baluster posts

4) Quality/Safety

Even top quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture, vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

5.1)  Glass adapter side mounts for glass railing

- 	Glass adapter Mod 4747, ø 50mm, H= 30mm.

(H = space between wall and glass spacing)

5.1.1) Material:

-          Stainless steel Stainless Steel AISI 316

5.1.2) Glass thickness glass adapters

Mod 4747 can accept glass thickness variations between 8mm and 21.52mm.

Glass thickness: ........................................

Note refer to Q-railing test data for glass specification in relation to specific loading criteria

5.2) Handrail options……………………

-          Diameter 42.4 mm, wall thickness 1.5 mm

-          Diameter 48.3 mm, wall thickness 1.5 mm

-          Rectangular, 60 x 40 mm, wall thickness 1.5 mm

-          Rectangular, 40 x 40 mm, wall thickness 1.5 mm

5.3) Accessories: .................................................................

-          Connectors and end handrails, stainless steel Stainless Steel AISI 304

-          Connectors and end handrails, stainless steel Stainless Steel AISI 316

-          Q-glue (Special stainless steel glue)

-          Q-cleaner (stainless steel care spray)

-          Q-glass cleaner (glass cleaner)

-          Cementing materials AISI 316

Amount: ................................