L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

1) Preliminary Remarks

These NBS specifications are intended to simplify the specification process but should be read in conjunction with current building regulations and British standards as well as manufacturers test certificates to ensure the system has full compliance.

We also recommend that you visit our website for CAD drawings, safety certificates, portfolio, news and essential contact details.

Product Guidance:

Our website address: 		www.q-railing.com

Manufacturer:	Q-railing

Product name:  Q-Line®, modular stainless steel balustrade system

2) Technical description, Quality characteristics:

-      Tubular profiled modular balustrading system consisting of rail profile, posts, handrail, handrail wall and accessories.

-      Maintenance friendly does not readily corrode, rust or stain.

-      Modular connectors to eliminate the requirement for welding on site.

-      Horizontal uniformly distributed line load, uniformly distributed load applied to infill, and point load to infill testing is available

-      Various base fitting options

-      Used separately or fixed to walls using matching handrail brackets

3) Usage:

-      Internal (304) or External (316) grades Stainless steel

-      Interchangeable modular components to adapt for raking or horizontal applications, including options for top mounting or fascia fixing of vertical baluster posts

4) Quality/Safety

Even top-quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture, vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

5.1) Railing profile: Brushed, round tube

5.1.1) Material:

-     Stainless Steel AISI 304

-     Stainless Steel AISI 316

5.2.) Surface treatment K 320 ground & Polished

5.3.) Dimensions: ...........................................

5.3.1) Posts: ..........................................

-       Diameter 42.4 mm, wall thickness 2.0 mm

-       Diameter 48.3 mm, wall thickness 2.0 mm

-       Diameter 42.4 mm, wall thickness 2.6 mm

-       Diameter 48.3 mm, wall thickness 2.6 mm

5.3.2) Handrail: .........................................

-       Diameter 33.7 mm, wall thickness 2.0 mm

-       Diameter 42.4 mm, wall thickness 1.5 mm

-       Diameter 42.4 mm, wall thickness 2.0 mm

-       Diameter 48.3 mm, wall thickness 2.0 mm

-       Diameter 42.4 mm, wall thickness 2,6 mm

-       Diameter 48.3 mm, wall thickness 2,6 mm

-       Square 40 x 40 mm, thickness 2.0 mm

5.3.3) Infill: ..........................................

-       Bar, diameter 10mm

-       Bar, diameter 12mm

-       Bar, diameter 14mm

-       Pipe, diameter 16mm, wall thickness 1.0 mm

-       Glass tube

-       Cable, diameter 3.2mm

-       Cable, diameter 6.0mm

-       Q-web

Glass terminals model……. for glass thickness: .........mm

Note: tested glass clamp REF. EN 12600-03

Glass thickness from 8 to 17.52mm

5.3.4) Glass Panel specification

Glass panel specification, to be either toughened monolithic panels of Toughened laminated panels with rounded corners and polished edges.

Height (mm): ………………………………………………….

Width (mm): ………………………………………………...

5.3.5) Handrail wall: ...............................

-         Diameter 42.4 mm, wall thickness 2.0 mm

-         Diameter 48.3 mm, wall thickness 2.0 mm

-         Diameter 42.4 mm, wall thickness 2.6 mm

-         Diameter 48.3 mm, wall thickness 2.6 mm

-         Square 40 x 40 mm, thickness 2.0 mm

6) Accessories: ..........................................

-         Connectors and end handrails, stainless steel Stainless Steel AISI 304

-         Connectors and end handrails, stainless steel Stainless Steel AISI 316

-         Handrail support for mounting to wall

-         Handrail support for fastening on tube

-         Handrail support for mounting on glass

-         Cross Rod holder

-         Adhesives (Special stainless steel glue)

-         Cementing materials in stainless steel AISI 316

Amount: ................................