L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

Detailed description

LED Cap rail formed from 65mm x 40mm rectangular with strip LED lights fitted within extrusion and associated covering diffusers. The system is designed to be fitted to the top of glass panels.

The system has been designed to complement the existing range of Q-railing high quality architectural fittings.

We also recommend that you visit our website for CAD drawings, BIM Objects, safety certificates, portfolio, news and essential contact details. It is also recommended that you seek guidance from Q-railing Architectural team to ensure that your specifications are fit for purpose and comply with varying loading requirements.

Product Guidance:

Even top quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture; vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

Product Guidance:

Our website address: 		www.q-railing.com

Product reference: Q-railing, Linear Light® for off-set handrail for wall mounting of fixing to glass

Capping rail:

- 16695565409 – 65 x 40mm rectangular, thickness 1.5 mm, L=2500mm, Stainless steel effect IX

- 166926-654-50-09 – 65 x 40mm rectangular, thickness 1.5 mm, L=5000mm, Stainless steel effect IX

Fixed to glass with model 50 rubber gaskets, adaptable for glass thicknesses ranging from 10mm to 21.52mm

Handrail fittings and accessories

- 155091-025-03 – Diffusers for bottom of cap rail (Clear) – L=2500mm

- 155091-025-06 – Diffusers for bottom of cap rail (Frosted) – L=2500mm

- 166734-654-09 – End fitting for cap rail

- 166545-654-09 – Wall flange for cap rail

LED strips and associated transformers:

Transformers

- 200015-075-20 – 75W IP20 transformer suitable for internal use only

- 19001600000 – 80W IP20 transformer suitable for internal use only

- 200015-100-67 – 80W IP67 transformer suitable for external use

- 19001512000 – 120W IP67 transformer suitable for external use

- 19001700000 – 80W IP67 transformer suitable for external use and also dimmable

LED strips

Indoor

- 41006002700 – K=2700, L=9939mm, Luminous flux per metre = 300 (White)

- 41006006500 – K=6500, L=9939mm, Luminous flux per metre = 340 (White)

- 41006400000 – K=RGB, L=6000mm, Luminous flux per metre = RGB

- 41006102700 – K=2700, L=6000mm, Luminous flux per metre = 600

- 41006106500 – K=6500, L=6000mm, Luminous flux per metre = 700

- 41006500000 – K=RGB, L=4000mm, Luminous flux per metre = 470

Outdoor

- 41006203000 – K=3000, L=6051mm, Luminous flux per metre = 250

- 41006206000 – K=6000, L=6051mm, Luminous flux per metre = 280

- 41003203000 – K=3000, L=6000mm, Luminous flux per metre = 570

- 41003203000 – K=6000, L=6000mm, Luminous flux per metre = 555

Accessories

- 200018 – LED Strip connector (Indoor)

- 200019 – LED strip connection cable (Indoor)

- 19001910000 – LED strip connection cable for LED strip mod 0064 (Indoor)

- 200023 – LED connection sleeve for LED mod 0062 (Outdoor)

- 19001601000 – Remote control & cable for mod 0016.020 (RGB – Indoor)

- 200012-001-01 – L=100m, Black cable 1mm2

- 200012-001-02 – L=100m, Red cable 1mm2

Additional notes

All handrails have pre-made accessories including 90 degree corner, adjustable angles, in-line connectors, which are compatible with Q-railing fittings.