L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

1) Preliminary Remarks

These NBS specifications are intended to simplify the specification process but should be read in conjunction with current building regulations and British standards as well as manufacturers test certificates to ensure the system has full compliance.

We also recommend that you visit our website for CAD drawings, safety certificates, portfolio, news and essential contact details.

Our website address: 			www.q-railing.com

Company:	Q-railing

Telephone:	0800 781 4245

Fax:		0800 781 4246

Email:		ukconsultant@q-railing.com

Address:	Q-railing UK

Unit 1. Tunstall Arrow

James Brindley way

Stoke-on-Trent

Staffs

ST6 5GF

Manufacturer:	Q-railing

Product name: Q-railing, Easy ALU ®

Modular, fully customizable, Aluminium post and rail, glazed balustrade system.

2) Technical description, Quality characteristics:

-      Available in top mount or fascia/side mounting options

-      Maintenance friendly does not corrode, rust or stain

-      on or offsite build-up of modular panels

-      No welding required

-      Horizontal uniformly distributed line load, uniformly distributed load applied to infill, and point load to infill testing is available

-      Design Criteria 0.74k/N loads

3) Usage:

-    External grade anodised Aluminium or powder coated finish suitable for external and internal situations.

4) Quality/Safety

Even top-quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture; vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

5.1) 	 Easy ALU

-	MOD 9026/9027 – Top mount base flanges

-	MOD 9028 – Fascia/side mount base brackets

-	MOD 0560 – post profiles

-	MOD 5950 – Handrail profiles

-	MOD 5951/2 - Frame profiles

-             MOD 5059 – Glass wing rubbers

-	Various accessories

5.1.1) Material:

-          Anodised (25 microns) Aluminium

-          Mill finish (for powder coating to any RAL colour)

-          powder coated RAL 7016

5.1.2) Glass thickness glass adapters

Glass thickness within the frame can vary between 8mm – 10.76mm Toughened or toughened laminated glass.

Glass thickness: .................. to meet 0.74k/N

Note refer to Q-railing test data for glass specification in relation to specific loading criteria

5.2) Fixings

- Fixings specific to building design envelope – refer to Q-railing for specification advice

For UK specification queries please use the above contact information to liaise directly with Q-railings specification team to ensure that the full specification is received correctly.