L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

1) Preliminary Remarks

These NBS specifications are intended to simplify the specification process but should be read in conjunction with current building regulations and British standards as well as manufacturers test certificates to ensure the system has full compliance.

We also recommend that you visit our website for CAD drawings, safety certificates, portfolio, news and essential contact details.

Our website address: 			www.q-railing.com

Company:	Q-railing

Telephone:	0800 781 4245

Fax:		0800 781 4246

Email:		ukconsultant@q-railing.com

Address:	Q-railing UK

Unit 1. Tunstall Arrow

James Brindley way

Stoke-on-Trent

Staffs

ST6 5GF

Manufacturer:	Q-railing

Product name: Q-railing, Easy Glass® View Juliet balcony system for a full glass railing system for vertical side or fascia fixing, suitable for indoor and outdoor use. System consists of Glass fixing profile, glass and accessories. The View Juliet balcony is ideal for balustrade up to a load of 0.74k/N for fall protection.

2) Technical description, Quality characteristics:

-      Fully glazed railing system for side fix into/onto window/door reveal or onto window/door frame.

-      Maintenance friendly does not corrode, rust or stain.

-      spans reveal with glass only – No top rail required (Laminated glass must be used).

-      Horizontal uniformly distributed line load, uniformly distributed load applied to infill, and point load to infill testing is available

-      Design Criteria 0.74k/N loads

3) Usage:

-      Fittings are External grade anodised Aluminium suitable for external situations.

4) Quality/Safety

Even top-quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture; vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

5.1) Juliet  MOD 6923 Easy glass VIEW for glass railing

-	86.6923.100.08 – Complete 1.1M high set inc top/bottom caps and cover caps

-             19.6923._ _ _ .00 rubber sets for 13.52mm - 114/ - 17.52mm - 118/ - 21.52mm – 122 / toughened laminated glass

5.1.1) Material:

-          Anodised (25 microns) Aluminium

5.1.2) Glass thickness glass adapters

Glass thickness in clamp can vary between 13.52mm and 21.52mm Toughened laminated glass depending on width of reveal

Glass thickness: ........................................ to meet 0.74k/N

Note refer to Q-railing test data for glass specification in relation to specific loading criteria

5.2) Fixings

- Fixings specific to building design envelope – refer to Q-railing for specification advice

For UK specification queries please use the above contact information to liaise directly with Q-railings specification team to ensure that the full specification is received correctly.