L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

1) Preliminary Remarks

These NBS specifications are intended to simplify the specification process but should be read in conjunction with current building regulations and British standards as well as manufacturers test certificates to ensure the system has full compliance.

We also recommend that you visit our website for CAD drawings, safety certificates, portfolio, news and essential contact details.

Our website address: 			www.q-railing.com

Company:	Q-railing

Telephone:	0800 781 4245

Fax:		0800 781 4246

Email:		ukconsultant@q-railing.com

Address:	Q-railing UK

Unit 1, Tunstall Arrow

James Brindley Way, Stoke-on-Trent

Staffordshire, ST6 5GF

Manufacturer:	Q-railing

Product name: Q-railing, Easy Glass® MOD 61 glass clamps for a full glass railing system for in-floor fixing, suitable for indoor and outdoor use. System consists of Glass fixing, glass handrail profile, glass and accessories. The ground glass terminal is ideal for construction of passenger control system as a definition, or for wind protection. It should not be used for fall protection, refer to test data on system for clearer specification.

2) Technical description, Quality characteristics:

-      Fully glazed railing system for casting into concrete foundation within floor.

-      Maintenance friendly does not readily corrode, rust or stain.

-      Modular connectors to eliminate the requirement for welding on site.

-      Horizontal uniformly distributed line load, uniformly distributed load applied to infill, and point load to infill testing is available

-      Used separately or fixed to walls using matching handrail brackets

3) Usage:

-      Fittings to be Internal grade (304) or External (316) grades

-      Interchangeable modular components to adapt for raking or horizontal applications, including options for top mounting or fascia fixing of vertical baluster posts

4) Quality/Safety

Even top quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture, vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

5.1) Glass adapter MOD 61 for glass railing

-	Base glass clamp MOD 61

5.1.1) Material:

-          Stainless steel Stainless Steel AISI 316

5.1.2) Glass thickness glass adapters

Glass thickness in clamp can vary between 12mm and 17.52mm Toughened laminated glass

Glass thickness: ........................................

Note refer to Q-railing test data for glass specification in relation to specific loading criteria

5.2) Handrail options……………………

-          Diameter 42.4 mm, wall thickness 1.5 mm

-          Diameter 48.3 mm, wall thickness 1.5 mm

-          Rectangular, 60 x 40 mm, wall thickness 1.5 mm

-          Rectangular, 40 x 40 mm, wall thickness 1.5 mm

5.3) Accessories: .................................................................

-          Locking pin for glass terminals (optional)

-          Connectors and end handrails, stainless steel Stainless Steel AISI 304

-          Connectors and end handrails, stainless steel Stainless Steel AISI 316

-          Q-glue (Special stainless steel glue)

-          Q-cleaner (stainless steel care spray)

-          Q-glass cleaner (glass cleaner)

-          Cementing materials AISI 316

For UK specification queries please use the above contact information to liaise directly with Q-railings specification team to ensure that the full specification is received correctly.