L30 STAIRS/WALKWAYS/BALUSTRADES

BALUSTRADE(S) AND HANDRAILS(S)

1) Preliminary Remarks

These NBS specifications are intended to simplify the specification process but should be read in conjunction with current building regulations and British standards as well as manufacturers test certificates to ensure the system has full compliance.

We also recommend that you visit our website for CAD drawings, safety certificates, portfolio, news and essential contact details.

Product Guidance:

Our website address: 		www.q-railing.com

Company:	Q-railing

Telephone:	0800 781 4245

Fax:		0800 781 4246

Email:		ukconsultant@q-railing.com

Address:	Q-railing UK

Unit 1. Tunstall Arrow

James Brindley way

Stoke-on-Trent

Staffs

ST6 5GF

Manufacturer:	Q-railing, d line modular railing system

Product name:  Q-railing, d line handrail, modular railing system. The d line system is composed as a creative modular system of modular parts. No matter which system components are combined together, you always get a consistent design. Through the balanced ratio of glass and stainless steel 316. d line is not only elegant but also extremely durable.

2) Technical description, Quality characteristics:

-      d line, modular railing system for indoor and outdoor use.

-      Maintenance friendly does not readily corrode, rust or stain.

-      Modular connectors to eliminate the requirement for welding on site.

-      Horizontal uniformly distributed line load, uniformly distributed load applied to infill, and point load to infill testing is available

3) Usage:

-      Fittings are all External (316) grades therefore can be used internally or externally

4) Quality/Safety

Even top quality materials are only as good as the workmanship used to process them. Easy installation techniques are created by modular parts with maximum precision fittings. Safety is very important in railing manufacture, vertical and horizontal loadings must be adsorbed. Reference should be made between product test certification and loading requirements set out in the current building regulations and British standards to ensure that the overall system has full compliance.

5.1) d line system description

5.1.1) Material;-

Stainless Steel AISI 316

5.1.2) Surface treatment;-

Matt brushed K320 and partly sandblasted

5.1.3) Thickness of glass;-

For glass 10 to 12mm / 12.76 to 16mm /16.76 to 20mm / 21.52 to 25.52 mm

5.1.4) Post for side mounting applications;-

Flat steel plate acting as post, size 54x12mm

-Blok Fixing – (complete set)

5.2) Glass specification

5.2.1) Glass;-

Glass spec to be either monolithic or toughened laminated, glass thickness to fall between 10mm and 25.52mm and can be sandblasted or screen printed

Thickness……………………mm

***Note: Guidance must be taken on glass specification from Q-railing UK technical team***

6) Accessories:

Stainless steel AISI 316

- Handrail with accessories (see d line handrail specification)

- Cover for posts fixed directly down into concrete floor)

- Bend 38mm diameter for 45° 450x450mm

- Tail straight 38mm diameter

- Tail end 32° 38mm diameter

Amount: ................................

For UK specification queries please use the above contact information to liaise directly with Q-railings specification team to ensure that the full specification is received correctly.